EMERGENCY LIGHTING COMPLETION CERTIFICATE
Original Certificate					Certificate reference

DETAILS OF CLIENT

Client/ / Address:

DETAILS OF THE INSTALLATION

Address:					New

Extent of the installation covered by this Certificate:					An / Addition / An / Alteration

DESIGN
I/We hereby certify that the emergency lighting installation, or part thereof, at the above premises has been designed by me/us and, to the best of my/our knowledge and belief, the installation complies with the appropriate recommendations given in BS 5266 Emergency lighting Part 1: 2005 Code of practice for the emergency lighting of premises other than cinemas and certain other specified premises used for entertainment and part 7: 2005 Lighting applications-Emergency lighting, published by BSI for a category installation, except as stated on page 2. Photometric design data is appended to this certificate.
Work carried out and covered by this certificate shown on Drawing No.(s). (See clause 3.3 of BS 5266: Part 1:2005)

Signature				Date				Name / (CAPITALS)				Designer

CONSTRUCTION
I/We hereby certify that the emergency lighting installation, or part thereof, at the above premises has been constructed by me/us and, to the best of my/our knowledge and belief, the installation complies with the appropriate recommendations given in BS 5266 Emergency lighting Part 1: 2005 Code of practice for the emergency lighting of premises other than cinemas and certain other specified premises used for entertainment and part 7: 2005 Lighting applications-Emergency lighting, published by BSI for a category installation, except as stated on page 2.
Work carried out and covered by this certificate shown on Drawing No.(s). (See clause 3.3 of BS 5266: Part 1:2005)

Signature				Date				Name / (CAPITALS)				Constructor

VERIFICATION
I/We hereby certify that the emergency lighting installation, or part thereof, at the above premises has been inspected and tested by me/us and, to the best of my/our knowledge and belief, the installation complies with the appropriate recommendations given in BS 5266 Emergency lighting Part 1: 2005 Code of practice for the emergency lighting of premises other than cinemas and certain other specified premises used for entertainment and part 7: 2005 Lighting applications-Emergency lighting, published by BSI for a category installation, except as stated on page 2.
Photometric verification data is appended, including light loss factors on photometric design, or the test data obtained from either authenticated data (See BS 5266: Part 7: 2005) or the measurements carried out in accordance with Annex A of BS 5266: Part 1: 2005.

Signature				Date				Name / (CAPITALS)				Verifier
Reviewed by
Signature				Date				Name / (CAPITALS)				Qualified Supervisor

ORGANISATION (S) RESPONSIBLE FOR THE EMERGENCY LIGHTING INSTALLATION
DESIGN
Organisation

Address:		NICEIC Enrolment No. / (Where appropriate) / Branch number / (If applicable)

CONSTRUCTION
Organisation

Address:		NICEIC Enrolment No. / (Where appropriate) / Branch number / (If applicable)

VERIFICATION
Organisation

Address:		NICEIC Enrolment No. / (Where appropriate) / Branch number / (If applicable) 0 0 0

DETAILS OF DEPARTURES FROM THE CODE OF PRACTICE (BS 5266: PART 1:1999)

ESSENTIAL RELATED REFERENCE DOCUMENTS

	Electrical Installation or Minor Electrical Installation Works Certificate number:					Date issued

	Emergency Lighting Periodic Inspection and Testing Certificate number:					Date issued

	Design schedule number(s):					Date issued

	Photometric design data or calculations:					Date issued

	Test record logbook supplied:					Date issued

	Other documents, if any (please state):					Date issued

TEST INSTRUMENTS USED

		Light meter Model and Serial number:			Other Instrument Model and Serial number:

NEXT INSPECTION
I/We the designer(s), recommend that this installation is further inspected and tested after an interval of not more than .

Note: Where this certificate relates to a major alteration or addition it should be accompanied by an “Emergency Lighting Periodic Inspection and Test Certificate” for the entire emergency lighting installation (See 11.2 of BS 5266: Part 1: 2005).
SCHEDULE OF ILLUMINIARIES TESTED
Test duration		Date		Battery type

Ref.	Description	Location	Operational	Lamp OK	Comments

NOTES FOR RECIPIENT

THIS CERTIFICATE IS A VALUABLE DOCUMENT AND SHOULD BE RETAINED FOR FUTURE REFERENCE

This certificate has been issued to confirm that the emergency lighting installation work to which it relates has been designed, constructed and inspected and tested in accordance with the appropriate recommendations given in BS 5266 Emergency Lighting Part 1: 2005 Code of practice for the emergency lighting of premises other than cinemas and certain other specified premises used for entertainment and Part 7: 2005 Lighting Applications – Emergency lighting (also identified as BS EN 1838: 1999).

You should have received an original Certificate and the contractor should have retained a duplicate Certificate. This document should be retained for the purpose of properly maintaining the emergency lighting installation. If you were the person ordering the work, but not the owner of the installation, you should pass this Certificate, or a full copy of it including any essential related reference documents, immediately to the user.

The original certificate should be retained in a safe place and be shown to any person inspecting or undertaking further work on the emergency lighting installation in the future. If you later vacate the property, this Certificate will demonstrate to the new owner that the emergency lighting installation complied with the requirements of BS 5266: Part 1 and 7: 2005, and with BS 7671:2001 Requirements for Electrical Installations, at the time the Certificate was issued.

For safety reasons, the emergency lighting installation will need to be inspected at appropriate intervals by a competent person.