FIRE DETECTION AND ALARM SYSTEM IN DWELLINGS INSTALLATION AND COMMISIONING CERTIFICATE
Original Certificate					Certificate reference

DETAILS OF CLIENT

Client/ / Address

DETAILS OF THE FIRE DETECTION AND ALARM SYSTEM

Address					New

Extent of the fire detection and alarm system covered by this Certificate					An / Addition / An / Alteration

DESCRIPTION OF SYSTEM GRADE AND SYSTEM TYPE

System grade					B					C					D					E					F

System type					LD1					LD2					LD3					PD1					PD2

INSPECTION AND TESTING

		Test buttons checked					Aerosol smoke test					Dedicated circuits(s) provided

		All alarm sounders operate					Sound level at bed head (dBA)					Protective device labelled

		Silencing system checked					Audible and visual indication of mains failure					The entire system has been tested for satisfactory operation

USER INSTRUCTIONS

I/We, the undersigned declare that the occupier of the dwelling (or the owner in the case of a house in multiple occupancy) have been provided with written information about essential aspects of the operation and maintenance of the system, as follows:

		Operation of the system					Routine testing of the system					The need to avoid contamination of detectors by paint

Action to be taken in the event of a fire alarm signal Precautions relevant to any lithium batteries used / Avoidance of false alarms Checking the system on reoccupation of the dwelling after a vacation etc. / Action in the event of a false alarm The need to keep clear space around all detectors and manual call points					Servicing and maintenance of the system (including intervals at which batteries should be replaced

DESIGN
I/We, being the competent person(s) responsible (as indicated by my/our signatures below) for the design of the fire alarm system, particulars of which are described above, CERTIY that the installation for which I/We have been responsible complies to the best of my/our knowledge and belief with the recommendations of BS 5839 Part6: 2004 for the system described above, except for the variations, if any, stated below.
Variations from the specification of BS 5839-Part6: 2004

Signature					Date					Name / (CAPITALS)					Designer

INSTALLATION
I/We, being the competent person(s) responsible (as indicated by my/our signatures below) for the installation of the fire alarm system, particulars of which are described above, CERTIY that the installation for which I/We have been responsible complies to the best of my/our knowledge and belief with the recommendations of BS 5839 Part6: 2004 for the system described above, except for the variations, if any, stated below.
Variations from the specification of BS 5839-Part6: 2004

Signature					Date					Name / (CAPITALS)					Constructor

COMMISSIONING
I/We, being the competent person(s) responsible (as indicated by my/our signatures below) for the commissioning of the fire alarm system, particulars of which are described above, CERTIY that the installation for which I/We have been responsible complies to the best of my/our knowledge and belief with the recommendations of BS 5839 Part6: 2004 for the system described above, except for the variations, if any, stated below.
Variations from the specification of BS 5839-Part6: 2004

Signature					Date					Name / (CAPITALS)					For Commissioning of the system
Reviewed by
Signature					Date					Name / (CAPITALS)					Qualified Supervisor

ORGANISATION(S) RESPONSIBLE FOR THE FIRE DETECTION AND ALARM INSTALLATION
DESIGN
Organisation

Address					NICEIC Enrolment No. / (Where appropriate) / Branch number / (If applicable)

INSTALLATION
Organisation

Address					NICEIC Enrolment No. / (Where appropriate) / Branch number / (If applicable)

VERIFICATION
Organisation

Address					NICEIC Enrolment No. / (Where appropriate) / Branch number / (If applicable)

ESSENTIAL RELATED REFERENCE DOCUMENTS

	Electrical Installation or Minor Electrical Installation Works Certificate number					Dated

TEST INSTRUMENTS USED

		Sound level meter Model and Serial number					Other Instrument Model and Serial number

NEXT INSPECTION
I/We the designer(s), recommend that this installation is further inspected and tested after an interval of not more than .

NOTES FOR RECIPIENT

THIS CERTIFICATE IS A VALUABLE DOCUMENT AND SHOULD BE RETAINED FOR FUTURE REFERENCE

This certificate should be read in conjunction with the other documents identified in the section entitled 'User Instructions'.
This certificate is to be issued only for a new fire detection and alarm system or for new work associated with an alteration or addition to an existing fire detection and alarm system in a dwelling. It should not have been issued for the periodic inspection and testing of a fire detection and alarm system.

This certificate has been issued to confirm that the fire detection and alarm system to which it relates has been installed and commissioned in accordance with the appropriate recommendations given in BS 5839 Part6: 2004 Fire detection and alarm systems for buildings Code of practice for the design and installation of fire detection and alarm systems in dwellings. The Fire Detection and Alarm System for Dwellings - Installation and Commissioning Certificate should only be issued for a system that has been installed and commissioned in accordance with the recommendations given in BS 5839 Part6: 2004.

You should have received the certificate marked 'Original' and the Domestic Installer should have retained the certificate marked 'Duplicate'. This certificate is a valuable document and should be retained for future reference for the purpose of properly maintaining the fire detection and alarm system. If you were the person ordering the work, but not the user of the system, you should pass this certificate, or a full copy of the certificate including user instructions, immediately to the user.

The 'Original' certificate should be retained in a safe place and shown to any person inspecting or undertaking further work on the fire detection and alarm system in the future. If you later vacate the premises, this certificate will demonstrate to the new occupier/owner that the fire detection and alarm system complied with the requirements of BS 5839 Part6: 2004 at the time the certificate was issued.

Inspection and Testing
A tick in the box indicates that the inspection or test has been performed and the results are satisfactory. Where a particular inspection or test is not appropriate for the particular system installed, N/A should have been inserted in the box. The relevant details of the sound level test instrument (if used) should have been recorded. All measurements relating to electrical safety should have been recorded on the related Electrical Installation Certificate or Minor Electrical Installation Works Certificate. The Domestic Installer issuing this certificate should have entered the appropriate time interval before re-inspection of the installation becomes due.

User Instructions
The Domestic Installer should have issued you, the recipient, with written Information relating to all aspects of the system as indicated in the section entitled User Instructions as required with the appropriate recommendations given in BS 5839 Part6: 2004 (except for any variations recorded in this section).

Certification of Design, Installation and Commissioning.
Certification of the design, installation and commissioning of the fire detection and alarm system provides an assurance that the system has been fully inspected and tested, and that the system complies with the appropriate recommendations given in BS 5839 Part6: 2004 (except for any variations recorded in this section).
For safety reasons, the fire detection and alarm system will need to be re-inspected and tested by a competent person at appropriate intervals. It is recommended that you engage the services of an Approved Contractor for this purpose. Additionally, routine inspections will be required to be undertaken by the occupier/owner at intervals recommended in the operating instructions.
Should the person ordering the work (e.g. the client, as identified in this certificate), have reason to believe that any element of the work for which the Domestic Installer has accepted responsibility (as indicated by the signatures on this certificate) does not comply with the requirements of the national electrical safety standard (BS 7671) or the operational requirements given in BS 5839: Part 6, the client should in the first instance raise the specific concerns in writing with the Domestic Installer.
Domestic Installers have been assessed as having the technical capability to carry out electrical work in compliance with the national standard for the safety of electrical installations - British Standard 7671: Requirements for Electrical Installations (formerly the lEE Wiring Regulations). The scope of this standard includes electrical safety aspects of fire detection and alarm systems but does not extend to the operational performance of such systems.