FIRE DETECTION AND ALARM SYSTEM DESIGN CERTIFICATE
Original Certificate					Certificate reference

DETAILS OF CLIENT

Client/ / Address

DETAILS OF THE FIRE DETECTION AND ALARM SYSTEM

Address					New

Extent of system covered by this Certificate					An / Addition / An / Alteration

OBJECTIVES OF PROTECTION PROPOSED

DESCRIPTION OF SYSTEM GRADE AND SYSTEM TYPE

System category				L1 L2 L3 L4 L5 / P1 P2 M Combined systems

Type of premises					Estimated age of property

DESCRIPTION OF AREAS PROTECTED

	Not Applicable for category M, L1 or P1 systems

CERTIFICATION OF DESIGN
I/We, being the competent person(s) responsible (as indicated by my/our signatures below) for the design of the fire alarm system, particulars of which are described above, CERTIY that the installation for which I/We have been responsible complies to the best of my/our knowledge and belief with the specification described below and with the recommendations of Section2 of BS 5839-1:2002, except for the variations, if any, stated in this certificate.
	Variations from the recommendations of section 2 of BS 5839-1: 2002 (see BS 5839-1: 2002, Clause 7)

The extent of liability of the signatory/signatories is limited to the work described above.
Signature					Date			Name / (CAPITALS)					For the DESIGN of the system

PARTICULARS OF THE ORGANISATION RESPONSIBLE FOR THE DESIGN

Organisation

Address:					NICEIC Enrolment No. / (Where appropriate) 0 0 0 0 0 0 / Branch number / (If applicable) 0 0 0

LIMITATION OF FALSE ALARMS

	Account has been taken of the guidance contained in Section 3 of BS 5839-1: 2002
				The system is manual. Type and siting of manual call points takes account of the guidance contained in Section 3 of BS 5839-1: 2002

				The system incorporates automatic fire detectors, and account has been taken of reasonably foreseeable causes of unwanted alarms, particularly in the selection and siting of detectors.

				An appropriate analogue system has been specified.

				An appropriate multi-sensor system has been specified.

				A time-related system has been specified. Details:

				Fire signals from automatic fire detectors result initially in a staff alarm, which delays for					minutes before:				Transmitting of signals to an alarm-receiving centre.

					A general alarm

				Appropriate guidance has been provided for the user to enable limitation of false alarms.

				Other measures as follows:

INSTALLATION AND COMMISIONING

	It is strongly recommended that installation and commissioning be undertaken in accordance with the recommendations of Section 4 and 5 of BS 5839-1: 2002 respectively.
				In accordance with the recommendation of Clause 35.2.6 of BS 5839-1: 2002 it is recommended that the, following commissioning, a soak period should follow:					Not less than 1 week

				As the system incorporates no more than 50 automatic fire detectors, no soak test is necessary to satisfy the recommendations of BS 5839-1: 2002

VERIFICATION

	Verification that the system complies with BS 5839-1: 2002 should be carried out, on completion, in accordance with Clause 43 BS 5839-1: 2002					Yes			No

			To be decided by the purchaser or user.

MAINTENANCE

	It is strongly recommended that, after completion the system is maintained in accordance with Section 6 of BS 5839-1: 2002

USER RESPONSIBILITIES

	The user should appoint a responsible person to supervise all matters pertaining to the fire alarm system in accordance with the recommendations of Section 7 of BS 5839-1: 2002

RELATED REFERENCE DOCUMENTS

	Design Specification reference number					Date issued

	Design Drawing reference numbers					Date issued

	Fire risk assessment number					Date issued

	Other reference documents					Date issued

NOTES FOR RECIPIENT

THIS CERTIFICATE IS A VALUABLE DOCUMENT AND SHOULD BE RETAINED FOR FUTURE REFERENCE

This certificate has been issued to confirm that the fire detection and alarm system to which it relates has been designed in accordance with the recommendations given in BS 5839-1: 2002 Fire detection and fire alarm systems for buildings - Part 1: Code of practice for system design, installation, commissioning and maintenance.

Persons offering to design, install, commission, accept, verify, maintain or inspect and service fire detection and alarm systems have a duty in law to ensure that all their supervisors and operatives given responsibility for such work are competent. This includes having a full understanding of all the technical and operational requirements relating to fire detection and alarm systems.

This certificate is intended to be issued only for the design of a new fire detection and alarm system or for the design of an alteration or extension to an existing system.

This certificate should be read I conjunction with the documentation identified in Related Reference Documents on the certificate. It is part of a suite of documentation to be provided to you, the recipient, and it should be passed to the user or purchaser of the system.

You should have received the certificate marked “Original” and the organisation responsible for verifying the fire detection and alarm system should have retained the certificate marked “Duplicate”. This certificate is a valuable document and should be retained for future reference as you may, subsequently, rely on this certificate as evidence of compliance with legislation. If you were the person ordering the work but not the user of the system, you should pass this certificate, or a full copy of it including all the related reference documents immediately to the user.

The 'Original' certificate should be retained in a safe place and be shown to persons responsible for servicing, modifying or using the fire detection and alarm system. If you later vacate the property or building this installation certificate will demonstrate to the new responsible person that the installation of the fire detection and alarm system was verified as recommended by BS 5839-1 (except for any variations noted on the certificate) at the time the certificate was issued.

You should have been provided with sufficient information such that a person who is unfamiliar with the technology of fire alarm systems can limit the occurrence of false alarms.

Details of the Client and Details of the Fire Detection and Alarm System
Information presented in the boxes should clearly identify the Client, the location and extent of the fire detection and alarm system and whether the system is new, an alteration or an extension to an existing system.

Objectives of the Protection Provided
A brief and clear description of the proposed protection should have been given. This may be particularly useful for a submission to an enforcing authority.

Type of Premises and System Category
Information presented should give an accurate description of the premises (such as school, hospital, church hall or office building) and the category of system proposed. Note that where the objectives of more than system are to be satisfied, the system will be described as a category X/Y system (e.g. LP2/P2 or L3/P2).

Description of Areas Protected
A brief description of the areas of the building that are protected by the automatic fire detection should have been given.

Certification of Design and Particulars of the Organisation(s) Responsible for the Design
The designer should have signed and dated the certificate, given their details, and recorded any variations from BS5839-1: 2002

Limitation of False Alarms
False alarms create disruption to the normal operation of business and create a drain on the fire service resources.
Significant importance is attached to the limitation of false alarms. The major part of the responsibility for the limitation of false alarms rests with the designer, and the information given in the boxes provides a record of the design procedures that have been implemented. In particular, you, the recipient, should have been provided with guidance that will enable limitation of false alarms.

Installation and Commissioning
The fire detection and alarm system to which this certificate relates should be installed and commissioned in accordance with the recommendations of Section 4 and 5 of BS 5839-1: 2002 respectively. Additionally, the designer should have given recommendations regarding soak testing of the system.

Verification
In this box, the designer should have given a recommendation as to whether the system should be verified in accordance with Clause 43 of BS 5839-1: 2002. Verification may be required where a purchaser or user considers that as a result of the division of responsibilities for the design, supply, installation and/or commissioning processes, there is significant potential for the installed system to deviate from the recommendations of BS 5839-1: 2002. The verification process needs to confirm that, as far as can be reasonably be determined, the system complies with all the recommendations of BS 5839-1: 2002 (including the limitation of false alarms), and that any variations have been agreed between all concerned parties and documented.

Maintenance
The purpose of this box on the certificate is to recommend that the system is maintained in accordance with Section 6 of BS 5839-1: 2002

User Responsibility
The user of the system should appoint a responsible person to supervise all matters pertaining to the fire alarm system in accordance with the recommendations of Section 7 of BS 5839-1: 2002

Related Reference Documents
The relevant documentation should have been handed over to you the recipient and it should be passed to the user or purchaser of the system.