FIRE DETECTION AND ALARM SYSTEM INSTALLATION CERTIFICATE
Original Certificate					Certificate reference

DETAILS OF CLIENT

Client/ / Address:

DETAILS OF THE FIRE DETECTION AND ALARM SYSTEM

Address:					New

Extent of the installation covered by this Certificate:					An / Addition / An / Alteration

SCHEDULE OF INSPECTION AND TESTING OF THE WIRING SYSTEM (S)

		Insulation resistance between / Conductors					Supply circuit earth continuity					Test(s) required by manufacturer, if any. Maximum circuit resistance

		Insulation resistance between / Conductors and earth					Supply circuit earth loop impedance					Other tests

		Insulation resistance between / Conductors and screen, if any					Test results to be recorded in the section schedule of test results

SCHEDULE OF TEST RESULTS

			Insulation resistance between / Conductors M					Supply circuit earth continuity 					Maximum circuit resistance 

			Insulation resistance between / Conductors and earth M					Supply circuit earth loop impedance 					Other tests

			Insulation resistance between / Conductors and screen M					Additional notes

CERTIFICATION OF THE INSTALLATION
I/We, being the competent person(s) responsible (as indicated by my/our signatures below) for the installation of the fire alarm system, particulars of which are described above, CERTIY that the installation for which I/We have been responsible complies to the best of my/our knowledge and belief with the specification described below and with the recommendations of Section 4 of BS 5839-1:2002, except for the variations, if any, stated in this certificate.
Variations from the specification and/or Section 4 of BS 5839-1 (Clause 7)
The extent of liability of the signatory/signatories is limited to the work described above.
Signature					Date					Name / (CAPITALS)					Installer

Signature					Date					Name / (CAPITALS)					Qualified Supervisor

PARTICULARS OF THE APPROVED CONTRACTOR

Organisation

Address:					NICEIC Enrolment No. / (Where appropriate) 0 0 0 0 0 0 / Branch number / (If applicable) 0 0 0

DESIGN SPECIFICATION AND RELATED REFERENCE DOCUMENTS

	Design Specification reference number:					Date issued

	Design Drawing reference numbers:					Date issued

	As fitted Drawing numbers:					Date issued

	Electrical Installation Certificate number:					Date issued

	Fire Alarm Design Certificate number:					Date issued

	Other:					Date issued

SCHEDULE OF EQUIPMENT INSTALLED
Reference		Description	Location		Operational	Comments

NOTES FOR RECIPIENT

THIS CERTIFICATE IS A VALUABLE DOCUMENT AND SHOULD BE RETAINED FOR FUTURE REFERENCE

This certificate has been issued to confirm that the fire detection and alarm system to which it relates has been installed in accordance with the recommendations given in:
- BS 5839-1: 2002 Fire detection and fire alarm systems for buildings - Part 1: Code of practice for system design, installation, commissioning and maintenance and in accordance with the requirements given in:
- BS 7671 Requirements for Electrical Installations (The lEE Wiring Regulations).

This certificate consists of one or more pages. It should be read in conjunction with the additional documents identified in Design Specification and Related Reference Documents. It is part of a suite of documentation to be provided to you, the recipient, and it should be passed to the user or purchaser of the system.
This certificate is intended to be issued only for the Installation work associated with a new fire detection and alarm system or for installation work associated with an alteration or extension to an existing system.
This certificate should be read in conjunction with an Electrical Installation Certificate issued to confirm that the electrical installation, to which it relates has been designed, constructed, inspected, tested and verified in accordance with BS 7671.
You should have received the certificate marked 'Original' and the organization responsible for the installation of the fire detection and alarm system should have retained the certificate marked 'Duplicate'. This certificate is a valuable document and should be retained for future reference as you may subsequently rely on this certificate as evidence of compliance with legislation. If you were the person ordering the work but not the user of the system you should pass this certificate or a full copy of it including these notes and all the related reference documents, immediately to the user.
The 'Original' certificate should be retained in a safe place and be shown to persons responsible for commissioning, accepting, verifying, servicing, modifying or using the fire detection and alarm system. If you later vacate the property or building this installation certificate will demonstrate to the new responsible person that the installation of the fire detection and alarm system complied with the recommendations of BS 5839-1 (except for any variations noted on the certificate) at the time the certificate was issued.

Details of the Client and Details of the Fire Detection and Alarm System
Information presented in the boxes should clearly identify the Client, the location and extent of the fire detection and alarm system and whether the system is new, an alteration or an extension to an existing system.

Inspection and Testing of Wiring Systems
On completion of the installation of a fire detection and alarm system or an alteration or extension to an existing fire detection and alarm system appropriate inspection and testing should have been carried out to ensure that the requirements and recommendations of the applicable Standards (which include BS 5839-1 and BS 7671) have been met. In meeting the recommendations of BS 5839-1, the installer should have carried out tests on the wiring, or sections of the wiring, to ensure the integrity of the cable insulation and the adequacy of earthing. The results of these tests should be recorded in this Section of the certificate. A '#' in the appropriate box indicates that the corresponding test has been performed and that the results are satisfactory. For any tests that are inappropriate, N/A meaning 'Not Applicable' should have been entered. Additional tests, such as the maximum circuit impedance, may be specified by the system manufacturer and should be recorded by ticking the box marked 'Other' and recording the results with other test results on additional numbered pages, which should be given to you, the recipient.
The results of the inspection and testing should be made available to the organization responsible for commissioning the system.

Certification of Installation and Particulars of the Approved Contractor
The Installer should have signed and dated the certificate and given details (such as position in the organisation and recorded any variations from BS 5839-1. Variations may have been necessary during the installation phase of the fire detection and alarm system, which should be listed in the box provided and, if necessary, on additional numbered sheets.

Design Specification and Related Reference Documents
This box gives a list of documents that should have been issued to you, the recipient. The 'As Fitted' drawings that the installer should have issued to you should, as a minimum, indicate the positions of:
All control, indicating and power supply equipment
All manual call points, fire detectors and fire alarm devices
All equipment that may require routine attention or replacement, and the type, sizes and actual routes of cables. (Unless it has been agreed that the provision of 'As Fitted' drawings is to be the responsibility of others).